DICOM · PACS · Medical Imaging

Learning Project

PyDicom · SimpleITK · 3D Slicer · Orthanc PACS · TotalSegmentator

4 Phases · 9 Steps · 7–9 Weeks · Solo · 4–7 hrs/week

Tailored for: Biology/Genetics BSc + Computer Science MSc

Version 1.0  ·  2026

# Contents

Phase 1 of 4  —  DICOM Fundamentals

- Step 1 of 9  The DICOM standard — structure, tags & metadata

- Step 2 of 9  Pixel data — reading, windowing & display

Phase 2 of 4  —  3D Slicer & PACS

- Step 3 of 9  3D Slicer interface & loading DICOM data

- Step 4 of 9  Volume rendering & coordinate systems

- Step 5 of 9  Manual segmentation

- Step 6 of 9  PACS architecture & DICOM networking with Orthanc

Phase 3 of 4  —  Medical Image Processing in Python

- Step 7 of 9  SimpleITK — 3D image processing & resampling

- Step 8 of 9  Automated segmentation & morphological operations

Phase 4 of 4  —  Capstone Pipeline

- Step 9 of 9  End-to-end pipeline: DICOM → segmentation → report

How to use this document

Each step is labeled Phase X of 4 / Step Y of 9 so you always know where you are and how much remains. Every step ends with a concrete deliverable — something you built, not just something you read. Work through steps sequentially; each one builds on the last.

Estimated timeline given your background

Biology/Genetics BSc eliminates anatomy overhead in Phases 1–2.

CS Masters makes Phases 3–4 feel like a new library, not a new paradigm.

Total: 7–9 weeks at 4–7 hrs/week, fully solo, Biomed only (no QGIS split).

| Phase 1 of 4 | DICOM Fundamentals | Weeks 1–2 |
| --- | --- | --- |

What this phase covers

DICOM is simultaneously a file format, a network protocol, and a data model. Before touching a single pixel you need to understand how the standard is organized — otherwise everything downstream will feel arbitrary. Your CS background means the tag/attribute system will feel familiar immediately (think structured metadata with typed fields). Your biology background means you already know what the clinical data inside those tags represents.

| Step 1 of 9 | The DICOM standard — structure, tags & metadata |
| --- | --- |
|  | Understand DICOM as a hierarchical data model: Patient → Study → Series → Instance. Learn the tag system (group number, element number), Value Representations (VR), and SOP Classes. Use pydicom to open a real DICOM file and interrogate every tag. Topics covered: - DICOM information object model (Patient / Study / Series / Instance hierarchy) - Tag notation (gggg,eeee) and Value Representations: CS, LO, DS, UI, SQ - SOP Classes and Transfer Syntaxes — what they mean clinically and technically - Reading a DICOM file with pydicom: ds = pydicom.dcmread() - Navigating and printing the full dataset; understanding implicit vs explicit VR - Patient demographics tags, study description, modality, acquisition parameters - DICOM UIDs — how they work as globally unique identifiers across systems Tools / libraries: pydicom, Python 3, TCIA (The Cancer Imaging Archive) for datasets ✓ Deliverable: Python script that reads any DICOM file and prints all tags in a structured, readable table grouped by category (patient, study, image). Push to GitHub. |
| Step 2 of 9 | Pixel data — reading, windowing & display |
|  | Extract the actual image data from a DICOM file and display it correctly. The key concept here is that raw pixel values are not display values — windowing/leveling maps a range of Hounsfield Units (for CT) to a visible grayscale. Your biology background gives you an immediate mental model for why different tissue types appear at different HU values. Topics covered: - Accessing pixel_array from a DICOM dataset with pydicom - Hounsfield Units: RescaleSlope, RescaleIntercept — the formula and why it matters - Window/Level (WL) contrast adjustment — clinical presets (lung, bone, soft tissue, brain) - Displaying single slices with matplotlib; correct aspect ratio from PixelSpacing - Multi-frame DICOM vs single-frame — iterating a CT series as a 3D numpy array - Modality differences: CT (HU scale), MRI (arbitrary intensity), X-ray (optical density) - Saving a correctly windowed image as PNG Tools / libraries: pydicom, numpy, matplotlib, TCIA RIDER Lung CT dataset ✓ Deliverable: Python script that loads a full CT series, applies 3 different window presets (lung, bone, soft tissue) and outputs a side-by-side comparison image. Push to GitHub. |

| Phase 2 of 4 | 3D Slicer & PACS | Weeks 2–4 |
| --- | --- | --- |

What this phase covers

3D Slicer is the primary open-source platform for medical image visualization and segmentation. It is also the backbone of much of the research and clinical AI tooling you will encounter as a contractor. Orthanc is a lightweight open-source PACS — running it locally teaches you the clinical infrastructure layer that surrounds every DICOM file in a real hospital. These two tools together give you both the visualization skill and the networking skill that differentiate a developer who has 'used pydicom' from one who understands medical imaging end-to-end.

| Step 3 of 9 | 3D Slicer interface & loading DICOM data |
| --- | --- |
|  | Install 3D Slicer and learn its architecture: the MRML scene, modules, and the three core viewers (axial, sagittal, coronal). Load a DICOM series from TCIA and navigate the volume. Your anatomy background means you will orient in multiplanar views much faster than a typical CS student. Topics covered: - 3D Slicer architecture: MRML scene, nodes, modules, and the Python-scriptable core - Loading DICOM data via the DICOM browser module - Navigating axial, sagittal, and coronal views; scroll, zoom, pan, crosshair - Window/level adjustment in Slicer vs what you built in Step 2 - Volume node vs segmentation node vs model node — the three data types - Loading sample datasets from the built-in data store (MRHead, CTACardio) - The Python interactor console in Slicer — your first slicer.mrmlScene calls Tools / libraries: 3D Slicer (LTS), TCIA datasets, Slicer DICOM browser ✓ Deliverable: Load a CT and an MRI dataset. Annotate 3 screenshots showing correct orientation identification (label which anatomy is visible in each view). Save as a PDF reference card. |
| Step 4 of 9 | Volume rendering & coordinate systems |
|  | Build a 3D rendered view of a CT volume and understand the RAS coordinate system that underpins all spatial operations in Slicer. The RAS system (Right-Anterior-Superior) is directly analogous to a geographic CRS — this is your first bridge concept between medical imaging and GIS. Topics covered: - The Volume Rendering module: preset transfer functions (CT-AAA, CT-Bone, CT-Chest) - Transfer function anatomy: scalar opacity, color, and gradient opacity mappings - RAS vs LPS vs IJK coordinate systems — when each is used and how to convert - How ImagePositionPatient and ImageOrientationPatient DICOM tags define physical space - Voxel spacing vs physical spacing — why resampling matters - Comparing a 3D bone render to what you see in the HU thresholded axial slices - Taking screenshots and scene saves in Slicer Tools / libraries: 3D Slicer Volume Rendering module, CTChest or CTACardio sample data ✓ Deliverable: A 3D bone render screenshot + a written explanation (one paragraph) of how RAS coordinates map to the DICOM spatial tags. Add to GitHub as a markdown note. |
| Step 5 of 9 | Manual segmentation |
|  | Segmentation is the core billable skill for medical imaging contractors. You will use the Segment Editor to manually delineate structures using multiple effects. The goal is not perfection — it is understanding what the tools do so you can evaluate automated results later. Topics covered: - Segment Editor module: segments, effects, and the masking controls - Paint and Draw effects: manual brush segmentation on 2D slices - Threshold effect: auto-filling by HU range (bone, lung, soft tissue) - Scissors effect: coarse region isolation before fine editing - Grow from seeds: semi-automated region growing from user-placed seeds - Islands effect: removing disconnected components from a segment - Exporting segmentation as STL (for 3D printing / visualization) and NRRD (for pipelines) - Segment Statistics module: computing volume, surface area from a segmentation Tools / libraries: 3D Slicer Segment Editor, 3D Slicer Segment Statistics, TCIA CT dataset ✓ Deliverable: Manual segmentation of liver and one lung from a CT volume. Export as NRRD. Record a short screen capture (GIF or video) of the 3D result. Add to GitHub. |
| Step 6 of 9 | PACS architecture & DICOM networking with Orthanc |
|  | A PACS (Picture Archiving and Communication System) is the central server that stores, routes, and serves DICOM studies in a clinical environment. Running Orthanc locally gives you a real PACS to work against — not a simulation. Understanding C-STORE, C-FIND, and C-MOVE is what separates a medical imaging developer from someone who has only worked with local files. Topics covered: - PACS architecture: modalities, worklist server, archive, viewing stations, and RIS integration - DICOM network services: C-ECHO (ping), C-STORE (send), C-FIND (query), C-MOVE (retrieve) - AE Titles, hostnames, and ports — how DICOM nodes identify each other - Installing and configuring Orthanc locally; the Orthanc REST API - Sending a DICOM file to Orthanc via storescu (command line) and via pynetdicom - Querying Orthanc with C-FIND using pynetdicom; parsing the result dataset - The Orthanc web viewer — confirming your uploads - DICOM de-identification: why it matters and how to remove PHI with pydicom Tools / libraries: Orthanc, pynetdicom, pydicom, storescu / dcmsend (DCMTK) ✓ Deliverable: Local Orthanc instance running with at least one study loaded. Python script that queries Orthanc via C-FIND, prints all study UIDs, then retrieves a specific series. Push to GitHub. |

| Phase 3 of 4 | Medical Image Processing in Python | Weeks 4–6 |
| --- | --- | --- |

What this phase covers

This is where your CS Masters pays off most directly. SimpleITK is a clean, Pythonic wrapper around ITK (Insight Toolkit) — the gold standard library for medical image processing. The operations here (resampling, filtering, registration, morphological processing) are algorithms you have seen before in other contexts. The only new dimension is that they operate on 3D volumes with physical spacing attached, and the results feed directly into clinical workflows. Every concept in this phase maps to something you can bill for within weeks of completing it.

| Step 7 of 9 | SimpleITK — 3D image processing & resampling |
| --- | --- |
|  | SimpleITK treats a medical image as a physical object with origin, spacing, and direction — not just a numpy array. This distinction is critical for any operation that will be used clinically. A resampling error of 1mm in a CT can shift a tumor margin meaningfully. Topics covered: - Reading a DICOM series as a 3D SimpleITK Image (vs pydicom slice-by-slice approach) - Image metadata: GetOrigin(), GetSpacing(), GetDirection(), GetSize() - Resampling to isotropic voxels — why 1mm x 1mm x 1mm matters for AI models - Gaussian smoothing, median filtering, and anisotropic diffusion for noise reduction - Intensity normalization: z-score, min-max, histogram equalization - Cropping and padding volumes: Extract/Paste image filters - Converting between SimpleITK Image and numpy array; preserving spatial metadata - Saving processed volumes as NIfTI (.nii.gz) — the format TotalSegmentator expects Tools / libraries: SimpleITK, numpy, nibabel, TCIA CT series ✓ Deliverable: Python script: reads a DICOM series, resamples to 1mm isotropic, applies Gaussian smoothing, saves as NIfTI. Function-based, documented, tested on two different CT datasets. Push to GitHub. |
| Step 8 of 9 | Automated segmentation & morphological operations |
|  | Threshold-based segmentation of bone from CT using HU values is the simplest form of automated segmentation — but it teaches you everything about how masks are created, cleaned, and evaluated. The morphological operations here (erosion, dilation, connected components) are the same operations used in GIS raster analysis, just applied to 3D volumes. Topics covered: - Binary threshold segmentation: isolating bone (HU > 400), lung (HU -1000 to -300), soft tissue - Morphological operations: BinaryErode, BinaryDilate, BinaryMorphologicalClosing - Connected component labeling: isolating the largest component, removing noise islands - Hole filling in 3D binary masks - Computing segment volumes from voxel count × voxel volume - Evaluating segmentation quality: visual inspection + Dice coefficient concept - Comparison: manual (Step 5) vs automated threshold segmentation on the same dataset Tools / libraries: SimpleITK, numpy, scipy.ndimage, matplotlib for 3D overlay visualization ✓ Deliverable: Python script: loads a NIfTI CT (from Step 7), segments bone by HU threshold, applies morphological cleanup, computes bone volume in cm³, saves mask as NIfTI. Include a matplotlib figure showing the overlay. Push to GitHub. |

| Phase 4 of 4 | Capstone Pipeline | Weeks 7–9 |
| --- | --- | --- |

What this phase covers

The capstone integrates every skill from Phases 1–3 into a single automated pipeline that mirrors real clinical AI tooling. You will pull a study from your local Orthanc PACS, process it with TotalSegmentator (a state-of-the-art pre-trained model that segments 104 anatomical structures from CT), compute organ volumes, and output a structured report. This is the deliverable you will show to clients and employers. It demonstrates that you can not only work with DICOM files in isolation, but build production-style pipelines around them.

| Step 9 of 9 | End-to-end pipeline: DICOM → segmentation → report |
| --- | --- |
|  | Build a fully automated, command-line-runnable pipeline. The input is a Study Instance UID on your local Orthanc server. The output is a JSON report of organ volumes plus a rendered multi-panel image showing segmentation overlays. Every component uses skills built in the previous 8 steps. Topics covered: - Pipeline architecture: input validation → DICOM retrieval → preprocessing → segmentation → measurement → reporting - Retrieving a study from Orthanc via C-MOVE or REST API into a local temp directory - Converting DICOM series to NIfTI using dcm2niix (faster than manual SimpleITK for pipelines) - Installing and running TotalSegmentator: totalseg CLI and Python API - TotalSegmentator output structure: one NIfTI mask per anatomical structure - Loading all segmentation masks and computing volume per structure - Generating a structured JSON report: patient ID, study date, organ volumes in mL, processing time - Rendering a multi-panel matplotlib figure: axial/sagittal/coronal with top-5 organ overlays - 3D Slicer Python scripting: loading the TotalSegmentator output back into Slicer programmatically - Error handling, logging, and making the pipeline re-runnable (idempotent) Tools / libraries: TotalSegmentator, dcm2niix, pynetdicom, SimpleITK, nibabel, numpy, matplotlib, json, 3D Slicer Python API ✓ Deliverable: GitHub repository with: (1) pipeline.py — fully documented, runnable end-to-end script; (2) sample_report.json — output from a real TCIA CT; (3) sample_output.png — rendered multi-panel figure; (4) README.md with setup instructions and a screenshot of 3D Slicer showing the TotalSegmentator result loaded back in. This is your portfolio piece. |

# Datasets

All datasets below are publicly available at no cost. No account required for TCIA downloads; free registration for RIDER.

| Dataset | Modality / Use | Steps |
| --- | --- | --- |
| TCIA RIDER Lung CT | CT — lung | Steps 1–8. Two time-point lung CTs per patient. Good for registration practice in Step 7. |
| TCIA Pancreas-CT | CT — abdomen | Steps 5, 9. Clean abdominal CT. TotalSegmentator performs well on it. Good capstone target. |
| TCIA Head-Neck PET-CT | CT + PET | Step 2, 4. Multi-modality. Good for window/level comparison across modalities. |
| 3D Slicer MRHead sample | MRI — brain | Steps 3–5. Built into Slicer. No download needed. Good for first navigation practice. |
| 3D Slicer CTACardio sample | CT — cardiac | Steps 3–4. Built into Slicer. Complex 3D anatomy for volume rendering. |
| Orthanc demo server | DICOM network | Step 6. Orthanc ships with test data. Use for C-FIND/C-STORE practice before adding your own. |

# Tools & Installation

### Core tools — install before starting Phase 1

- Python 3.10+: Use a virtual environment (venv or conda). Install once, activate per session.

- pydicom: pip install pydicom — the primary Python DICOM library.

- pynetdicom: pip install pynetdicom — for DICOM network operations (C-STORE, C-FIND).

- SimpleITK: pip install SimpleITK — 3D image processing. Note capital I and T K.

- nibabel: pip install nibabel — for reading/writing NIfTI files.

- numpy + matplotlib: pip install numpy matplotlib — always needed.

### Install before Phase 2

- 3D Slicer LTS: Download the Long Term Support release from slicer.org. Do not use the Preview release for learning.

- Orthanc: Download from orthanc-server.com. Run locally on port 8042. Default credentials: orthanc/orthanc.

- DCMTK: Provides storescu, findscu command-line tools. Useful for testing DICOM networking independently of Python.

### Install before Phase 4 (capstone only)

- TotalSegmentator: pip install TotalSegmentator — requires PyTorch. Install PyTorch first with CUDA if you have a GPU; CPU mode works but is slower (~15 min per CT on CPU vs ~1 min on GPU).

- dcm2niix: Download from github.com/rordenlab/dcm2niix — fastest DICOM-to-NIfTI converter. Add to PATH.

GPU note

TotalSegmentator on CPU takes ~10–15 minutes per CT volume. On a modern GPU (RTX 3060 or better) it takes under 2 minutes. For the capstone, CPU is fine. For any future client work, GPU access (local or cloud via Lambda Labs / RunPod) is worth the cost.

# Progress Tracker

Use this table to track your progress. Mark each step when the deliverable is completed and pushed to GitHub.

| Phase | Step | Title | Deliverable | Done |
| --- | --- | --- | --- | --- |
| Phase 1 of 4 | Step 1 of 9 | DICOM structure, tags & metadata | GitHub script | ☐ |
| Phase 1 of 4 | Step 2 of 9 | Pixel data, windowing & display | GitHub script | ☐ |
| Phase 2 of 4 | Step 3 of 9 | 3D Slicer interface & loading data | PDF reference card | ☐ |
| Phase 2 of 4 | Step 4 of 9 | Volume rendering & coordinate systems | GitHub notes | ☐ |
| Phase 2 of 4 | Step 5 of 9 | Manual segmentation | GitHub + GIF/video | ☐ |
| Phase 2 of 4 | Step 6 of 9 | PACS architecture & Orthanc networking | GitHub script | ☐ |
| Phase 3 of 4 | Step 7 of 9 | SimpleITK 3D processing & resampling | GitHub script | ☐ |
| Phase 3 of 4 | Step 8 of 9 | Automated segmentation & morphology | GitHub script | ☐ |
| Phase 4 of 4 | Step 9 of 9 | End-to-end capstone pipeline | GitHub repo | ☐ |

First contract target

After Step 9 is complete and pushed to GitHub: apply to Handshake AI (3D Slicer AI evaluator) and search Upwork for 'DICOM segmentation'. Your capstone repo is your portfolio — link it in every application.